High-quality Factor Diamond MEMS Resonators for Ultra-precise Thermometry

Wen Zhao1, Guo Chen1, Zhaozong Zhang1, Satoshi Koizumi1, Meiyong Liao1

1 Research Center for Electronics and Optical Materials, National Institute for Materials Science, Namiki 1-1, Tsukuba, Ibaraki 305-0044, Japan

Keywords: Diamond, MEMS, thermometry, Ultra-high resolution, low noise

Next-generation thermometric technologies demand exceptional temperature precision combined with microscale to nanoscale spatial resolution, enabling advanced sensing applications in bio-calorimetry, optoelectronic sensing, quantum science, energy storage systems, and thermal management of electronic devices. Existing thermometric techniques based on thermocouples, resistive elements, or optical systems are usually hindered by inherent drawbacks, including bulky configurations, low resolution, high noise susceptibility, and narrow temperature operation ranges. In comparison, thermometry based on microelectromechanical systems (MEMS) offers compelling advantages, such as miniaturization, scalable batch fabrication, and facile integration with electronic circuitry, positioning it as a promising solution for high-performance on-chip thermal sensing. However, mainstream silicon MEMS thermometry often suffers from the trade-off between sensitivity, temperature resolution, and thermal noise, resulting in insufficient sensing precision for high-resolution thermal measurements. To overcome these limitations, in this work, we propose the utilization of high-quality factor single-crystal diamond MEMS cantilevers with multi-mode resonance to address these challenges. The proposed diamond MEMS thermometry achieves unparalleled performance, with an ultra-high temperature resolution of 100 µK, an ultra-high sensitivity of ~22 nK/Hz1/2, and a wide operational temperature range from 6.5K to 380K. These achievements establish diamond MEMS resonators as a versatile and transformative platform for next-generation precision thermal sensing technologies.